- Smoke Alarm Safety Check for Parents

Smoke alarms are very easy to install and take care of. To help teach your children about smoke alarms, ask them to help you install and maintain them.

o       Install smoke alarms on every level of your home, including the basement.

o       Many fatal fires begin late at night or in the early morning. For extra safety, install smoke alarms both inside and outside the sleeping area.

o       Also, smoke alarms should be installed on the ceiling or 6 to 8 inches below the ceiling on side walls. Since smoke and many deadly gases rise, installing your smoke alarms at the proper level will provide you with the earliest warning possible.

o       Always follow the manufacturer's installation instructions.

o       Each month, ask your child to help you test all of the alarms in the home. This would also be a good time to make sure your alarms are clean and free of dust.

o       Ask your child to pick at least one special day a year, like a birthday, holiday or other special event. Designate that day as "Smoke Alarm Safety Day" and replace all of the batteries in your smoke alarms with new ones. If your home has "hard-wired" alarms (connected to the household electrical system), they may or may not have battery back-up